## 1. Board Ventilation Strategy
The column titles for this worksheet are in rows 3, 7, 8, and 11. They span cells A3, A7, A8 through B8, and A11. The data spans cells A9 through B9, and A12 through A15. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
School boards are optimizing air quality in schools through improved ventilation and filtration. Implemented measures are dependent on the type of ventilation and feasibility within the context of school facilities and related building systems. This is a key element in the multiple protective strategies being employed to reduce the risk of COVID-19 transmission and support healthier and safe learning environments for students and staff.
Ventilation
Filtration
School Board Ventilation Profile
Algonquin and Lakeshore Catholic DSB
Measures to help reduce transmission risk in indoor settings
Ventilation: Increasing the flow of outdoor/fresh air for diluting the concentration of any infectious particles.
Filtration: Involves the use of different types of fibrous media designed to remove particles from the airstream.
SCHOOL Board Ventilation Strategy
Complete more regular preventative maintenance inspection and servicing of all equipment to optimize performance
Adjust the settings of HVAC equipment, where possible, to increase the hours of operation of the ventilation equipment and the amount of fresh air supplied through the HVAC equipment
Placement of stand-alone HEPA filtration units to meet or exceed Ministry of Education guidelines in all FDK and regular classrooms throughout the board
Upgrade filter ratings in mechanical equipment, as appropriate, and increase the frequency of filter replacement to improve air quality

## 2. Board Level Investments
The column titles for this worksheet are in rows 5, 6, 7, and 12. They span cells A5, A6, A7 through B7, and A12. The data spans cells A8 through B11, and A12 through B12. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
School Board Ventilation Profile
Algonquin and Lakeshore Catholic DSB
Ventilation Funding* |
$7.5M
Ventilation Funding* |
$3.1M
24
Ventilation projects completed
SCHOOL BOARD wide investments
Ventilation projects in progress / planned
18
2020-21 School Year
2021-22 School Year
Note: *This includes includes spending from dedicated ventilation programs, federal-provincial funding, provincial renewal funding and supplemental funding from other board sources.
42
Schools receiving an investment, which is of total schools in the board.
Schools to receive an investment, which is
of total schools in the board.
42
sTANDALONE HEPA FILTER UNITs dEPLOYED |
751
100%
100%

## 3. School Dashboard
The column titles for this worksheet are in rows 5, 7, and 9. They span cells A5, A7, and A9. The data spans cells B10 through F19. Cell D5 has Sort options. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
| School Name | Archbishop O Sullivan Catholic School
| Ventilation System | Mechanical Ventilation
School Ventilation and Filtration Measures*
| Ventilation assessed |  | 1 | Yes
| Running ventilation systems longer |  | 1 | Yes
| Higher grade filters installed |  | 1 | Yes
| Increased frequency of filter changes |  | 1 | Yes
| Increased fresh air intake (windows and/or mechanical ventilation systems) |  | 1 | Yes
| Standalone HEPA** filter units deployed in portables, as needed |  | 1 | Yes
| Standalone HEPA** filter units in place, including HEPA filter units in portables, as needed |  | 14 | 14
*Some measures may not be feasible within the context of a school facility/site and related building systems.
**High-Efficiency Particulate Air (HEPA)
School Board Ventilation Profile
Algonquin and Lakeshore Catholic DSB
Select your school here

## 4. Board Level Worksheet (hidden)
The column titles for this worksheet are in rows 1, 3, 13, 15, 16, and 17. They span cells B1 through C1, B3, B13, E15 through P15, E16 through P16, and E17 through P17. The data spans cells A5 though C29, and E18 through P19. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader. | Question | Input Response:
Legend
| TAB 1: Board Ventilation Strategy |  |  |  |  | Calculated field
Data entry field
1 | Select Board Name | Algonquin and Lakeshore Catholic DSB | <- Select
2 | Identify your board strategy (in four bullets)
2.1 |  | Complete more regular preventative maintenance inspection and servicing of all equipment to optimize performance | <- Enter here
2.2 |  | Upgrade filter ratings in mechanical equipment, as appropriate, and increase the frequency of filter replacement to improve air quality | <- Enter here
2.3 |  | Adjust the settings of HVAC equipment, where possible, to increase the hours of operation of the ventilation equipment and the amount of fresh air supplied through the HVAC equipment | <- Enter here
2.4 |  | Placement of stand-alone HEPA filtration units to meet or exceed Ministry of Education guidelines in all FDK and regular classrooms throughout the board | <- Enter here
TAB 2: Board Level Investments
3 | Investments and Projects |  |  | Funding Sources (Please Complete Expenditure Details)
|  |  |  | 2020-21 | [5 empty] | 2021-22
|  | Calculated fields (3.1, 3.2, 3.5 and 3.8) |  | $50M-Ventilation | $50M-Ventilation | ICIP-CVRIS (Spent) | SRA (Spent on Ventilation) | SCI (Spent on Ventilation) | Other Board Funding (Spent on Ventilation) | $29.4M for filters and utilities | HEPA Funding | Hepa Funding (Approx. $ value for HEPA units provided) | SRA (Spent on Ventilation) | SCI (Spent on Ventilation) | ICIP-CVRIS (Spent) | Other Board Funding (Spent on Ventilation)
3.1 | Ventilation Funding Allocated in 2020-21 | 7.4592 |  | 350400 | 350400 | 2722913 | 1522297 | 2513155 | 0
3.2 | Ventilation Funding Allocated in 2021-22 | 3.0815 | [7 empty] | 166326 | 9000 | 204000 | 69234 | 960815 | 1672086 | 0
3.3 | Ventilation Projects Completed (2020-21) | 24 | <- Enter here
3.4 | Number of Schools Receiving an Investment (2020-21) | 42 | <- Enter here
3.5 | % of Schools Open and Operating Receiving an Investment (2020-21) | 100% | <- Calculated
3.6 | Ventilation Projects to be Completed (2021-22) | 18 | <- Enter here
3.7 | Number of Schools Receiving an Investment (2021-22) | 42 | <- Enter here
3.8 | % of Schools Open and Operating Receiving an Investment (2021-22) | 100% | <- Calculated
4 | Standalone HEPA Filter Units Deployed | 751 | <- Enter here

## 5. School Level Worksheet (hidden)
The column titles for this worksheet are in rows 2, 4, and 5. They span cells A2 through N2, A4 through N4, and A5 through N5. The data spans cells A6 through O114. Cells A5 through M5 have Sort options. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
These are drop down options → |  | Mechanical Ventilation, Partial Mechanical Ventilation, Non-Mechanical Ventilation (Natural Ventilation / Exhaust Only) | Yes/No/NA | Yes/No/NA | Yes/No/NA | Yes/No/NA | Yes/No/NA | Yes/No/NA | Numbers #
Enter School Details |  |  | Identify Ventilation Measures
Name of School Facility | Building ID | Type of School Facility Ventilation | Ventilation assessed | Running ventilation systems longer | Higher grade filters installed | Increased frequency of filter changes | Increased fresh air intake (windows and/or mechanical ventilation systems) | HEPA units deployed in portables, as needed | Standalone HEPA filter units in place | Board ID
Archbishop O Sullivan Catholic School | 7443-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 14 | 55
Ecole Cathedrale Catholic School | 7864-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 22 | 55
Ecole Early Years Campus | 7960-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 7 | 55
Georges Vanier Catholic School | 10051-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 17 | 55
Holy Cross Catholic Secondary School | 7156-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 51 | 55
Holy Name Catholic School | 7169-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 14 | 55
Holy Name of Mary Catholic School | 10059-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 17 | 55
Holy Rosary Catholic School | 10052-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 11 | 55
J J O'Neill Catholic School | 7271-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 18 | 55
Loyola Community Learning Centre - Picton | 19489-1 | Mechanical Ventilation | Yes | Yes | No | Yes | Yes | NA | 1 | 55
Loyola Community Learning Centre (Belleville) | 20142-1 | Mechanical Ventilation | Yes | Yes | No | Yes | Yes | NA | 6 | 55
Loyola Community Learning Centre (Kingston) | 7229-1 | Mechanical Ventilation | Yes | Yes | No | Yes | Yes | NA | 4 | 55
Loyola Community Learning Centre-Trenton (Annex) | 10361-1 | Mechanical Ventilation | Yes | Yes | No | Yes | Yes | NA | 3 | 55
Mother Teresa Catholic School | 7497-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 18 | 55
Nicholson Catholic College | 10055-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 39 | 55
Our Lady of Fatima Catholic School | 10053-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 11 | 55
Our Lady of Lourdes Catholic School | 7336-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 26 | 55
Our Lady of Mercy Catholic School | 10064-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 12 | 55
Our Lady of Mount Carmel Catholic School | 7108-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 40 | 55
Regiopolis - Notre Dame Catholic Secondary School | 7387-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 51 | 55
Sacred Heart Catholic School, Batawa | 10058-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 16 | 55
Sacred Heart Catholic School, Wolfe Island | 8763-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 14 | 55
Sacred Heart Catholic School,Marmora new | 10062-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 7 | 55
St Carthagh Catholic School | 10063-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 19 | 55
St Gregory Catholic School | 10060-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 24 | 55
St James Major Catholic School | 8762-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 5 | 55
St Joseph Catholic School | 10054-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 30 | 55
St Marguerite Bourgeoys Catholic School | 10168-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 18 | 55
St Martha Catholic School | 7840-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 13 | 55
St Martin Catholic School | 10066-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 3 | 55
St Mary Catholic School, Read | 10061-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 13 | 55
St Mary Catholic School, Trenton | 10056-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 21 | 55
St Michael Catholic School | 10055-2 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 29 | 55
St Patrick Catholic School, Erinsville | 8761-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 8 | 55
St Patrick Catholic School, Harrowsmith | 7944-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 11 | 55
St Paul Catholic School, Kingston | 7951-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 15 | 55
St Paul Catholic Secondary School | 10068-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 35 | 55
St Theresa Catholic Secondary School | 10069-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 36 | 55
St Thomas More Catholic School | 8036-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 10 | 55
St. Francis of Assisi Catholic School | 7163-2 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 11 | 55
St. John XXIII Catholic School | 7201-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 19 | 55
St. Peter Catholic School | 10068-2 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 12 | 55
751

## Funding Tables (hidden)
The column titles for this worksheet are in rows 1 and 2. They span cells D1 through P1, and A2 through O2. The data spans cells A3 through P78. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader. |  | Board DropDownList | Summer 2021 |  | 21-22 SY | [9 empty] | Board DropDownList | [5 empty] | X1000
Index | DSBNo | DSB Name | HVAC | Windows | HVAC | Windows | Total $ | Ventilation Funding | Windows Funding | Ventilation | SRA | Project Count | HEPA Units | Facilities with No Mechanical Ventilation | DSB Name | Aug 2020 $50M | Feb 2021 $50M | $29.4M for Filters | Funding for HEPA units | HEPA units | Hepa Funding (Approx. $ value for HEPA units provided) | HVAC System Type
1 | 1 | DSB Ontario North East | [12 empty] | DSB Ontario North East | 0.2931 | 0.2931 | 0.16191 | 0.018 | 109 | 0.109 | Mechanical Ventilation
2 | 2 | Algoma DSB | [12 empty] | Algoma DSB | 0.4164 | 0.4164 | 0.17814 | 0.028 | 132 | 0.132 | Partial Mechanical Ventilation
3 | 3 | Rainbow DSB | [12 empty] | Rainbow DSB | 0.4491 | 0.4491 | 0.20844 | 0.034 | 900 | 0.9 | Non-Mechanical Ventilation (Natural Ventilation / Exhaust Only)
4 | 4 | Near North DSB | [12 empty] | Near North DSB | 0.3562 | 0.3562 | 0.17216 | 0.023 | 181 | 0.181
5 | 5A | Keewatin-Patricia DSB | [12 empty] | Keewatin-Patricia DSB | 0.1709 | 0.1709 | 0.10134 | 0.013 | 23 | 0.023
6 | 5B | Rainy River DSB | [12 empty] | Rainy River DSB | 0.1114 | 0.1114 | 0.051128 | 0.008 | 19 | 0.019
7 | 6A | Lakehead DSB | [12 empty] | Lakehead DSB | 0.2938 | 0.2938 | 0.12232 | 0.02 | 26 | 0.026
8 | 6B | Superior-Greenstone DSB | [12 empty] | Superior-Greenstone DSB | 0.1482 | 0.1482 | 0.062121 | 0.006 | 10 | 0.01
9 | 7 | Bluewater DSB | [12 empty] | Bluewater DSB | 0.4528 | 0.4528 | 0.26431 | 0.045 | 103 | 0.103
10 | 8 | Avon Maitland DSB | [12 empty] | Avon Maitland DSB | 0.4029 | 0.4029 | 0.25624 | 0.034 | 62 | 0.062
11 | 9 | Greater Essex County DSB | [12 empty] | Greater Essex County DSB | 0.8464 | 0.8464 | 0.48301 | 0.072 | 491 | 0.491
12 | 10 | Lambton Kent DSB | [12 empty] | Lambton Kent DSB | 0.6784 | 0.6784 | 0.32155 | 0.051 | 320 | 0.32
13 | 11 | Thames Valley DSB | [12 empty] | Thames Valley DSB | 1.8102 | 1.8102 | 1.1466 | 0.201 | 630 | 0.63
14 | 12 | Toronto DSB | [12 empty] | Toronto DSB | 6.9186 | 6.9186 | 3.7211 | 0.527 | 648 | 0.648
15 | 13 | Durham DSB | [12 empty] | Durham DSB | 1.4395 | 1.4395 | 0.99996 | 0.171 | 311 | 0.311
16 | 14 | Kawartha Pine Ridge DSB | [12 empty] | Kawartha Pine Ridge DSB | 0.8822 | 0.8822 | 0.47902 | 0.078 | 933 | 0.933
17 | 15 | Trillium Lakelands DSB | [12 empty] | Trillium Lakelands DSB | 0.532 | 0.532 | 0.26747 | 0.035 | 768 | 0.768
18 | 16 | York Region DSB | [12 empty] | York Region DSB | 2.588 | 2.588 | 1.696 | 0.282 | 497 | 0.497
19 | 17 | Simcoe County DSB | [12 empty] | Simcoe County DSB | 1.0784 | 1.0784 | 0.71854 | 0.123 | 149 | 0.149
20 | 18 | Upper Grand DSB | [12 empty] | Upper Grand DSB | 0.845 | 0.845 | 0.48561 | 0.091 | 262 | 0.262
21 | 19 | Peel DSB | [12 empty] | Peel DSB | 2.9913 | 2.9913 | 2.0339 | 0.417 | 1462 | 1.462
22 | 20 | Halton DSB | [12 empty] | Halton DSB | 1.2395 | 1.2395 | 0.88418 | 0.155 | 1045 | 1.045
23 | 21 | Hamilton-Wentworth DSB | [12 empty] | Hamilton-Wentworth DSB | 1.162 | 1.162 | 0.67302 | 0.12 | 794 | 0.794
24 | 22 | DSB of Niagara | [12 empty] | DSB of Niagara | 1.0193 | 1.0193 | 0.53801 | 0.069 | 428 | 0.428
25 | 23 | Grand Erie DSB | [12 empty] | Grand Erie DSB | 0.7641 | 0.7641 | 0.36728 | 0.067 | 765 | 0.765
26 | 24 | Waterloo Region DSB | [12 empty] | Waterloo Region DSB | 1.4674 | 1.4674 | 0.86324 | 0.156 | 331 | 0.331
27 | 25 | Ottawa-Carleton DSB | [12 empty] | Ottawa-Carleton DSB | 1.6815 | 1.6815 | 1.0734 | 0.161 | 780 | 0.78
28 | 26 | Upper Canada DSB | [12 empty] | Upper Canada DSB | 0.8607 | 0.8607 | 0.43896 | 0.058 | 147 | 0.147
29 | 27 | Limestone DSB | [12 empty] | Limestone DSB | 0.5681 | 0.5681 | 0.31396 | 0.049 | 820 | 0.82
30 | 28 | Renfrew County DSB | [12 empty] | Renfrew County DSB | 0.2849 | 0.2849 | 0.17256 | 0.021 | 63 | 0.063
31 | 29 | Hastings and Prince Edward DSB | [12 empty] | Hastings and Prince Edward DSB | 0.4471 | 0.4471 | 0.25008 | 0.038 | 199 | 0.199
32 | 30A | Northeastern Catholic DSB | [12 empty] | Northeastern Catholic DSB | 0.102 | 0.102 | 0.042093 | 0.007 | 58 | 0.058
33 | 30B | Nipissing-Parry Sound Catholic DSB | [12 empty] | Nipissing-Parry Sound Catholic DSB | 0.1009 | 0.1009 | 0.051728 | 0.008 | 215 | 0.215
34 | 31 | Huron-Superior Catholic DSB | [12 empty] | Huron-Superior Catholic DSB | 0.1567 | 0.1567 | 0.06741 | 0.011 | 56 | 0.056
35 | 32 | Sudbury Catholic DSB | [12 empty] | Sudbury Catholic DSB | 0.1764 | 0.1764 | 0.093118 | 0.014 | 37 | 0.037
36 | 33A | Northwest Catholic DSB | [12 empty] | Northwest Catholic DSB | 0.0507 | 0.0507 | 0.020789 | 0.006 | 7 | 0.007
37 | 33B | Kenora Catholic DSB | [12 empty] | Kenora Catholic DSB | 0.0429 | 0.0429 | 0.016799 | 0.004 | 4 | 0.004
38 | 34A | Thunder Bay Catholic DSB | [12 empty] | Thunder Bay Catholic DSB | 0.2103 | 0.2103 | 0.096697 | 0.018 | 22 | 0.022
39 | 34B | Superior North Catholic DSB | [12 empty] | Superior North Catholic DSB | 0.0777 | 0.0777 | 0.025886 | 0.005 | 7 | 0.007
40 | 35 | Bruce-Grey Catholic DSB | [12 empty] | Bruce-Grey Catholic DSB | 0.1245 | 0.1245 | 0.067335 | 0.013 | 15 | 0.015
41 | 36 | Huron Perth Catholic DSB | [12 empty] | Huron Perth Catholic DSB | 0.1583 | 0.1583 | 0.066229 | 0.013 | 52 | 0.052
42 | 37 | Windsor-Essex Catholic DSB | [12 empty] | Windsor-Essex Catholic DSB | 0.4545 | 0.4545 | 0.28309 | 0.04 | 167 | 0.167
43 | 38 | London District Catholic School Board | [12 empty] | London District Catholic School Board | 0.5238 | 0.5238 | 0.30314 | 0.05 | 69 | 0.069
44 | 39 | St. Clair Catholic DSB | [12 empty] | St. Clair Catholic DSB | 0.227 | 0.227 | 0.12597 | 0.021 | 75 | 0.075
45 | 40 | Toronto Catholic DSB | [12 empty] | Toronto Catholic DSB | 2.0247 | 2.0247 | 1.2219 | 0.203 | 1766 | 1.766
46 | 41 | Peterborough V N C Catholic DSB | [12 empty] | Peterborough V N C Catholic DSB | 0.3679 | 0.3679 | 0.21131 | 0.032 | 39 | 0.039
47 | 42 | York Catholic DSB | [12 empty] | York Catholic DSB | 1.027 | 1.027 | 0.69729 | 0.141 | 499 | 0.499
48 | 43 | Dufferin-Peel Catholic DSB | [12 empty] | Dufferin-Peel Catholic DSB | 1.7022 | 1.7022 | 1.0344 | 0.131 | 160 | 0.16
49 | 44 | Simcoe Muskoka Catholic DSB | [12 empty] | Simcoe Muskoka Catholic DSB | 0.5004 | 0.5004 | 0.31176 | 0.055 | 72 | 0.072
50 | 45 | Durham Catholic DSB | [12 empty] | Durham Catholic DSB | 0.4711 | 0.4711 | 0.2954 | 0.047 | 98 | 0.098
51 | 46 | Halton Catholic DSB | [12 empty] | Halton Catholic DSB | 0.582 | 0.582 | 0.50332 | 0.077 | 105 | 0.105
52 | 47 | Hamilton-Wentworth Catholic DSB | [12 empty] | Hamilton-Wentworth Catholic DSB | 0.5678 | 0.5678 | 0.41858 | 0.07 | 283 | 0.283
53 | 48 | Wellington Catholic DSB | [12 empty] | Wellington Catholic DSB | 0.207 | 0.207 | 0.10807 | 0.02 | 25 | 0.025
54 | 49 | Waterloo Catholic DSB | [12 empty] | Waterloo Catholic DSB | 0.5008 | 0.5008 | 0.34433 | 0.052 | 69 | 0.069
55 | 50 | Niagara Catholic DSB | [12 empty] | Niagara Catholic DSB | 0.5523 | 0.5523 | 0.27526 | 0.057 | 147 | 0.147
56 | 51 | Brant Haldimand Norfolk Catholic DSB | [12 empty] | Brant Haldimand Norfolk Catholic DSB | 0.2798 | 0.2798 | 0.15336 | 0.024 | 117 | 0.117
57 | 52 | Catholic DSB of Eastern Ontario | [12 empty] | Catholic DSB of Eastern Ontario | 0.3544 | 0.3544 | 0.19218 | 0.03 | 178 | 0.178
58 | 53 | Ottawa Catholic DSB | [12 empty] | Ottawa Catholic DSB | 0.9585 | 0.9585 | 0.64714 | 0.087 | 286 | 0.286
59 | 54 | Renfrew County Catholic DSB | [12 empty] | Renfrew County Catholic DSB | 0.1948 | 0.1948 | 0.075459 | 0.014 | 104 | 0.104
60 | 55 | Algonquin and Lakeshore Catholic DSB | [7 empty] | 7.4592 | 3.0815 | 24 | 751 | #REF! | Algonquin and Lakeshore Catholic DSB | 0.3504 | 0.3504 | 0.16633 | 0.009 | 204 | 0.204
61 | 56 | CSD du Nord-Est de l'Ontario | [12 empty] | CSD du Nord-Est de l'Ontario | 0.0691 | 0.0691 | 0.052442 | 0.01 | 16 | 0.016
62 | 57 | CSD du Grand Nord de l'Ontario | [12 empty] | CSD du Grand Nord de l'Ontario | 0.1495 | 0.1495 | 0.077236 | 0.011 | 36 | 0.036
63 | 58 | CS Viamonde | [12 empty] | CS Viamonde | 0.5095 | 0.5095 | 0.23053 | 0.045 | 67 | 0.067
64 | 59 | CÉP de l'Est de l'Ontario | [12 empty] | CÉP de l'Est de l'Ontario | 0.3903 | 0.3903 | 0.26666 | 0.045 | 192 | 0.192
65 | 60A | CSD catholique des Grandes Rivières | [12 empty] | CSD catholique des Grandes Rivières | 0.3367 | 0.3367 | 0.12409 | 0.017 | 170 | 0.17
66 | 60B | CSD catholique Franco-Nord | [12 empty] | CSD catholique Franco-Nord | 0.1073 | 0.1073 | 0.063604 | 0.01 | 69 | 0.069
67 | 61 | CSD catholique du Nouvel-Ontario | [12 empty] | CSD catholique du Nouvel-Ontario | 0.37 | 0.37 | 0.11995 | 0.028 | 385 | 0.385
68 | 62 | CSD catholique des Aurores boréales | [12 empty] | CSD catholique des Aurores boréales | 0.0358 | 0.0358 | 0.023341 | 0.005 | 11 | 0.011
69 | 63 | CS catholique Providence | [12 empty] | CS catholique Providence | 0.2915 | 0.2915 | 0.16192 | 0.037 | 45 | 0.045
70 | 64 | CS catholique Mon Avenir | [12 empty] | CS catholique Mon Avenir | 0.5413 | 0.5413 | 0.26414 | 0.058 | 97 | 0.097
71 | 65 | CSD catholique de l'Est ontarien | [12 empty] | CSD catholique de l'Est ontarien | 0.3701 | 0.3701 | 0.19773 | 0.032 | 116 | 0.116
72 | 66 | CSD catholique du Centre-Est de l'Ontario | [12 empty] | CSD catholique du Centre-Est de l'Ontario | 0.5627 | 0.5627 | 0.36524 | 0.071 | 203 | 0.203
73 | 100 | James Bay Lowlands SSB | [12 empty] | James Bay Lowlands SSB | 0.005 | 0.005 | 0.013567 | 0 | 0 | 0
74 | 101 | Moose Factory Island DSAB | [12 empty] | Moose Factory Island DSAB | 0.005 | 0.005 | 0.009242 | 0 | 20 | 0.02
75 | 102 | Moosonee DSAB | [12 empty] | Moosonee DSAB | 0.005 | 0.005 | 0.004511 | 0 | 21 | 0.021
76 | 103 | Protestant SSB | [12 empty] | Protestant SSB | 0.005 | 0.005 | 0.003844 | 0.001 | 8 | 0.008